Technical Exhibit 11

Infrastructure Systems

As part of the service provider’s basic services (fixed price), the following are important infrastructure systems which shall have system and database back-ups performed according to the following chart:

Software System			Periodicity of Backup

BAS-Siemens				semi- annual (or after software change)

Lithonia Lighting			semi- annual (or after software change)

Simplex Fire Alarm			annual (or after software change)

MCC Audio-Visual Equip.		annual (or after software change)

MCC RUPS system (Piller)		annual (or after software change)

Security System  (TBD*)		(TBD*)

Annex HVAC (Johnson Controls)	semi- annual (or after software change)

Annex HVAC (Liebert)			semi- annual (or after software change)

Fire Alarm system (FCI)			semi- annual (or after software change)

Annex RUPS system (Piller)		semi- annual (or after software change)

CMMS - PM recordation (**)		Weekly – subject to change upon rollout.

Electrical system PLCs			original programming or when modified

TBD – To be determined.

- (*) The current Simplex security system is being replaced with a Hirsch system.  The extent of O&M coverage that will be required for the new system has yet to be determined.

- (**) The current Datastream/MP2 CMMS is being replaced by an Archibus system.