Technical Exhibit 3

Service Calls History Report (as of 09/30/08)

| 1. Indoor Air Quality | 9 |
| --- | --- |
| 2. Ceiling Lights Out | 237 |
| 3. Ceiling Tile Work | 8 |
| 4. Automatic Door Problems | 76 |
| 5. Manual Door Problems | 60 |
| 6. Electrical Other | 27 |
| 7. Elevators Problems | 19 |
| 8. Equipment Repairs | 241 |
| 9.Project Estimates | 41 |
| 10.Fire Protection Sys Repairs | 43 |
| 11.Gate Repairs | 48 |
| 12. Hang Pictures/Clocks | 13 |
| 13.HVAC/Electrical Repairs | 59 |
| 14.Leaks in Building | 41 |
| 15.Exterior Lighting | 21 |
| 16.Misc Work | 95 |
| 17.Lock Repairs | 55 |
| 18.Noise Problems | 29 |
| 19.Odor problems | 32 |
| 20.Other Building Maintenance | 21 |
| 21.Painting | 38 |
| 22.Parking Lot Repairs | 2 |
| 23. Pa System Repairs/Adjustments | 8 |
| 24. Power Outages | 7 |
| 25. Raised Floor Repairs | 24 |
| 26. Restroom Fixture Repairs | 92 |
| 27. Restroom Leaks | 9 |
| 28. Restroom Stoppages | 81 |
| 29. Safety Problems | 97 |
| 30. Security System Problems | 141 |
| 31. Shred System Repairs | 4 |
| 32. Sign Repairs | 6 |
| 33. Temperature Call/Hot | 149 |
| 34. Temperature Call/Cold | 174 |
| 35. Utility Time Work | 145 |
| 36. Water Fountain System Repairs | 28 |
| 37. Other Water Problems | 39 |
| 38. Window Problems | 8 |
| Average Calls Per Year | 2227 |