## MCC Inventory FY2010 - Security
Technical Exhibit 5A
FY2010
ECC Facilities Operations & Maintenance
Security Equipment Inventory Listing
**Not all inclusive
Equipment Type | Description | Frequency | ECC (main building) | Annex
Listed below is other security equipment to be maintained, inspected, and repaired in accordance with Manufacturer's criteria. Contractor will be responsible to develop a guide card based on the MFG requirements for all equipment listed below and/ or for which GSA/IRS do not already have a guide card established.
Security | Security Controller (Field Panels - ISCs) |  | 27 | 9
Security | Glass Break Sensor |  | 93 | 46
Security | SECURITY CAMERAS & power supplies |  | 45 | 21
Security | SECURITY Video monitoring & recording, VCR DVD |  | 3 | 0
Security | Security Video Rack |  | 2 | 1
Security | Motion Detector |  | 103 | 38
Security | Aiphone Intercom system talking locations |  | 10 | 7
Security | Security Intrusion Detection - Fiber Fence monitoring zones |  | 8 | 3
Security | Additional stand alone Proxcard readers |  | 14 | 4
Security | Delta Hydraulic Barriers W/parking arm gates,traffic lights and loop detectors |  | 3 | 0
Q= Quarterly
A= Annually
M= Monthly
S= Semi-Annually
W=Weekly
1/3= One time every 3 years
Q/A= Both Quarterly and Annually
**Contractor is responsible for verifying equipment quantities.