Technical Exhibit 10

|  | Infrared Testing Requirements |  |
| --- | --- | --- |
| IRS PM CHECK | DESCRIPTION | FREQUENCY |
| E-28 | Motor Starters Less Than 100 Hp | One time in three years |
| E-30A | Switchboards, Medium Voltage, (per cubicle) | One time in three years |
| E-30B | Switchboards Low Voltage, (per cubicle), | One time in three years |
| E-37C | Bus Duct, Low Voltage, & Connectors Copper - Per disconnect | One time in three years |
| E-37D | Bus Duct, Low Voltage, & Connectors Copper - Per 10 foot bus duct section | One time in three years |
| E-36 | Automatic Transfer Switch | One time in three years |
| E-33A | High Voltage Network and, Power Type Transformer Dry Type Transformer - - Power Type | Annual |
| E-33B | High Voltage Network and, Power Type Transformer Dry Type Transformer - - Network Type | Annual |
| E-34A | Disconnects or Isolating Switch, Per Switch, Under 200 amps >600 VOLTS | Annual |
| E-34B | Disconnect or isolating switch, low voltage (fused/non- fused, 200 amps and up) - - 200 To 500 Amps | Annual |
| E-34C | Disconnect or isolating switch, low voltage (fused/non- fused, 200 amps and up) - - Over 500 Amps | Annual |
| E-37A | Bus Duct, Low Voltage, & Connectors Aluminum - Per disconnect | Annual |
| E-37B | Bus Duct, Low Voltage, & Connectors Aluminum - Per 10 foot bus duct section | Annual |
| E-37AA | Bus Duct, Metal Enclosed, & Connectors Aluminum: - Per disconnect | Annual |
| E37BB | Bus Duct, Metal Enclosed, & Connectors Aluminum: - Per 10 foot bus duct section | Annual |
| E-37CC | Bus Duct, Metal Enclosed, & Connectors Aluminum: - Outdoors: Per disconnect | Annual |
| E-37DD | Bus Duct, Metal Enclosed, & Connectors Aluminum: - Outdoors: Per 10 foot bus duct section | Annual |
| E-59 | Rotary Uninterruptible Power System | Annual |
| E-35A | Motor Control Center (MCC), under 100 hp - - 5 or fewer starters | Annual |
| E-35B | Motor Control Center (MCC), under 100 hp - - Each additional motor starter | Annual |
| E-58 | Power Distribution Unit | Annual |