Technical Exhibit 12-B

QASP INSPECTION SAMPLING MATRIX

| Preventative Maintenance Sampling Matrix ECC/Martinsburg O&M Contract Solicitation #TIRNO09R00018 April 4, 2009 |  |  |  |
| --- | --- | --- | --- |
|  |  | 100% Inspection | Random Sampling |
| GUIDE |  |  |  |
| NO | ITEMS |  |  |
| A-01 | AIR DRYER,REFRIGERANT/REGENERATIVE | X |  |
| A-02 | A/C UNITARY ROOF-TOP (HEAT-COOL) | X |  |
| A-03 | HUMIDIFICATION SYSTEMS | X |  |
| A-04 | AIR COMPRESSOR | X |  |
| A-05 | A/C MACHINE , SPLIT SYSTEM | X |  |
|  | COMFORT COOLING 10 TON AND UNDER |  |  |
|  | COMFORT COOLING OVER TEN TONS |  |  |
|  | SPECIAL PURPOSE TEN TONS AND UNDER |  |  |
|  | SPRCIAL PURPOSE OVER TEN TONS |  |  |
| A-06 | A/C MACHINE PACKAGE UNIT COMFORT COOLING | X |  |
|  | TEN TONS AND UNDER |  |  |
|  | OVER TEN TONS |  |  |
| A-07 | A/C MACHINE PACKAGE UNIT , SPECIAL PURPOSE | X |  |
|  | 10 TONS AND UNDER |  |  |
|  | OVER 10 TONS |  |  |
| A-08 | A/C CONDITIONING WINDOW UNIT |  | X |
| A-09 | AIR COOLED CONDENSER | X |  |
|  | 20 TONS AND UNDER |  |  |
|  | OVER 20 TONS |  |  |
| A-10 | HEAT PUMPS | X |  |
|  | 5 TONS AND UNDER |  |  |
|  | 6 TO 10 TONS |  |  |
|  | OVER 10 TONS |  |  |
| A-11 | AIR HANDLER UNIT | X |  |
|  | UNDER 5000 CFM |  |  |
|  | 5001-15,000 CFM |  |  |
|  | 15,001-30,000 CFM |  |  |
|  | 30,001 TO 50,000 CFM |  |  |
|  | 50,001 TO 75,000 CFM |  |  |
|  | OVER 75,001 CFM |  |  |
| A-12 | GLYCOL DRY COOLER | X |  |
|  | COMFORT COOLING |  |  |
|  | 20 TONS OR LESS |  |  |
|  | 20 TONS - 40 TONS |  |  |
|  | SPECIAL PURPOSE |  |  |
|  | 20 TONS OR LESS |  |  |
|  | 20 TONS - 40 TONS |  |  |
| A-13 | A/C UNITS CEILING,WALL MOUNTED | X |  |
|  | COMFORT COOLING |  |  |
|  | SPECIAL PURPOSE |  |  |
| A-15 | AFTER COOLER/ SEPERATOR | X |  |
| B-01 | BATTERY CHARGER | X |  |
| B-02 | BOILER (COAL, OIL, GAS) | X |  |
|  | 120 MBTU'S OR LESS |  |  |
|  | 120 TO 300 MBTU'S |  |  |
|  | 300 TO 500 MBTU'S |  |  |
|  | 500 TO 700 MBTU'S |  |  |
|  | 700 TO 1,000 MBTU'S |  |  |
|  | OVER 1,000 MBTU'S |  |  |
| B-03 | BURNER, GAS | X |  |
| B-04 | BUNER, OIL | X |  |
| B-05 | BOILER, ELECTRIC | X |  |
| B-06 | BOILER, INSTRUMENTS/ CONTROLS | X |  |
| B-07 | BOILER, INTERNAL INSPECTION | X |  |
|  | 120 MBTU'S OR LESS |  |  |
|  | 121 TO 300 MBTU'S |  |  |
|  | 301 TO 500 MBTU'S |  |  |
|  | 501 TO 700 MBTU'S |  |  |
|  | 701 TO 1,000 MBTU'S |  |  |
|  | EACH ADDITIONAL 1,000 MBTU'S ADD |  |  |
| B-08 | BOILER, EXTERNAL INSPECTION | X |  |
|  | 120 MBTU'S OR LESS |  |  |
|  | 121 TO 300 MBTU'S |  |  |
|  | 301 TO 500 MBTU'S |  |  |
|  | 501 TO 700 MBTU'S |  |  |
|  | 701 TO 1,000 MBTU'S |  |  |
|  | EACH ADDITIONAL 1,000 MBTU'S ADD |  |  |
| C-01 | CLOCKS, CENTRAL SYSTEM |  | X |
| C-02 | REMOTE AIR INTAKE DAMPERS |  | X |
| C-03 | COILS, PREHEAT, REHEAT, REMOTE LOCATIONS |  | X |
| C-04 | CENTRAL MINI-COMPUTER-HVAC | X |  |
| C-05 | AUTOMATIC MIXING BX-PNEUMATIC OR ELEC |  | X |
| C-06 | CONTROLS,CENTRAL SYSTEM,HVAC PER DEVICE | X |  |
| C-07 | CONDENSATE OR VACUUM PUMP | X |  |
| C-08 | CENTRAL CONTROL PANEL PER DEVICE | X |  |
| C-09 | COOLING TOWER | X |  |
|  | UNDER 50 TONS |  |  |
|  | OVER 50 TO 500 TONS |  |  |
|  | OVER 501-1,000 TONS |  |  |
|  | EACH ADDITIONAL 500 TONS ADD 10.00 HRS |  |  |
|  | FOR EACH 500 TON INCREMENT |  |  |
| C-10 | COOLING TOWER , CLEANING | X |  |
|  | UNDER 50 TONS |  |  |
|  | OVER 50 TO 500 TONS |  |  |
|  | OVER 501-1,000 TONS |  |  |
|  | EACH ADDITIONAL 500 TONS ADD 10.00 HOURS |  |  |
|  | FOR EACH 500 TON INCREMENT |  |  |
| C-11 | EVAPORATIVE CONDENSER | X |  |
|  | 50 TONS AND UNDER |  |  |
|  | OVER 50 TONS |  |  |
| C-14 | CHAIN HOIST AND TROLLEY | X |  |
| C-24 | CONDENSING UNIT REF. | X |  |
|  | COMFORT COOLING |  |  |
|  | 20 TONS AND UNDER |  |  |
|  | OVER 20 TONS |  |  |
|  | CRITICAL |  |  |
|  | 20 TONS AND UNDER |  |  |
|  | OVER 20 TONS |  |  |
| D-01 | DOOR, POWER OPERATED |  | X |
| D-02 | DUMBWAITER | X |  |
| D-03 | DRAINS, ROOF,GUTTER,DOWNSPOUT(PER 100 FT) |  | X |
| D-04 | DOOR, HYDRAULIC, ELECTRIC, PNEUMATIC OPERATED |  | X |
| D-05 | DOOR, MAIN ENTRANCE | X |  |
| D-06 | DRAINS,AREAWAY,DRIVEWAY,STORM |  | X |
| D-10 | DOOR, HYDRAULIC, MANUAL OVERHEAD |  | X |
| E-01 | ELEVATOR, ELECTRIC OR HYDRAULIC 4 FL OR LESS | X |  |
|  | FOR EACH ADDITIONAL FL ADD |  |  |
| E-02 | ELEVATOR, ELECTRIC OR HYDRAULIC | X |  |
| E-03 | ELEVATOR, ELECTRIC OR HYDRAULIC | X |  |
| E-04 | ELEVATOR, ELECTRIC OR HYDRAULIC 4 FL OR LESS | X |  |
|  | FOR EACH ADDITIONAL FL ADD |  |  |
| E-05 | ELEVATOR, ELECTRIC INSPECTION 4 FL OR LESS | X |  |
|  | FOR EACH ADDITIONAL FL ADD |  |  |
| E-06 | ELEVATOR, ELECTRIC INSPECTION 4 FL OR LESS | X |  |
|  | FOR EACH ADDITIONAL FL ADD |  |  |
| E-07 | ELEVATOR, ELECTRIC INSPECTION 4 FL OR LESS | X |  |
|  | FOR EACH ADDITIONAL FL ADD |  |  |
| E-08 | ELEVATOR, HYDRAULIC INSPECTION 4 FL OR LESS | X |  |
|  | FOR EACH ADDITIONAL FL ADD |  |  |
| E-09 | ELEVATOR, HYDRAULIC INSPECTION 4 FL OR LESS | X |  |
|  | FOR EACH ADDITIONAL FL ADD |  |  |
| E-10 | ESCALATOR AND MOVING WALKS INSPECTION | X |  |
| E-15 | ESCALATOR | X |  |
| E-16 | ESCALATOR | X |  |
| E-17 | EXPANSION JOINTS IN PIPING |  | X |
| E-18 | EMERGENCY LIGHTS (WET CELL ) |  | X |
| E-19 | EMERGENCY, LIGHTS CLOSED SYSTEM |  | X |
| E-20 | INDUCTION DISC OVERCURRENT RELAY | X |  |
| E-21 | OVER/UNDER VOLTAGE RELAY | X |  |
| E-22 | THERMAL OVERCURRENT RELAY | X |  |
| E-23 | INDUCTION DISC DIRECTIONAL OVERCURRENT RELAY | X |  |
| E-24 | POWER FACTOR /REVERSE CURRENT OR WATT TYPE RELAY | X |  |
| E-25 | GROUND FAULT OR TRANFORMER DIFF RELAY | X |  |
| E-25A | BOLTED PRESSURE CONTACT SWITCH LOW VOLTAGE | X |  |
|  | GROUND FAULT OPERATED |  |  |
|  | STAND ALONE |  |  |
| E-26 | L/V MOLDED CASE CIRCUIT BREAKER |  | X |
| E-27 | L/V POWER CIRCUIT BREAKER(OVER50 AMPS) | X |  |
| E-28 | MOTOR STARTER 100 HP & UP | X |  |
| E-29 | HIGH VOLTAGE OIL CIRCUIT BREAKER | X |  |
| E-30 | SWITCH BOARD MEDIUM VOLTAGE PER CUBICLE | X |  |
| E-30A | SWITCH BOARD LOW VOLTAGE PER CUBICLE | X |  |
| E-31 | NETWORK PROTECTORS | X |  |
| E-32 | H/V NETWORK/POWER TRANSFORMER (OIL FILL) | X |  |
|  | POWER TYPE |  |  |
|  | NETWORK TYPE |  |  |
| E-33 | H/V NETWORK/POWER TRANSFORMER DRY | X |  |
|  | POWER TYPE |  |  |
|  | NETWORK TYPE |  |  |
| E-34 | DISCONNECT ISOLATING SWITCH PER SWITICH | X |  |
| E-34A | DISCONNECT/ISOLATING SW, L/V | X |  |
|  | FUSED/NON-FUSED, 200 AMPS UP |  |  |
|  | 200 AMPS TO 500 AMPS |  |  |
|  | OVER 500 AMPS |  |  |
| E-35 | MOTOR CONTROL CENTER INCLUDES 1ST 5 STARTERS | X |  |
|  | UNDER 100 HP |  |  |
| E-36 | AUTOMATIC TRANSFER SWITCH | X |  |
| E-37 | BUS DUCT, L/V AND CONNECTORS | X |  |
|  | ALUMINUM |  |  |
|  | PER DISCONNECT |  |  |
|  | PER 10 FT SECTION |  |  |
|  | COPPER |  |  |
|  | PER DISCONNECT |  |  |
|  | PER 10 FT SECTION |  |  |
| E-37A | BUS DUCT, L/V AND CONNECTORS ENCLOSED | X |  |
|  | ALUMINUM |  |  |
|  | PER DISCONNECT |  |  |
|  | PER 10 FT SECTION |  |  |
|  | OUTDOORS |  |  |
|  | PER DISCONNECT |  |  |
|  | PER 10 FT SECTION |  |  |
|  | COPPER |  |  |
|  | PER DISCONNECT |  |  |
|  | PER 10 FT SECTION |  |  |
| E-38 | HIGH VOLTAGE AIR CIRCUIT BREAKER | X |  |
| E-39 | SUPERVISIOR SET | X |  |
|  | 1 TO 10 DEVICES |  |  |
|  | EACH ADDITIONAL DEVICE |  |  |
| E-40 | EMERGENCY GEN. GASOLINE, ELEC. OR NATURAL GAS | X |  |
| E-41 | EMERGENCY GENERATOR, ELECTRIC DIESEL ENGINES | X |  |
| E-41A | EMERGENCY GENERATOR, ELECTRIC DIESEL ENGINES | X |  |
| E-42 | EMERGENCY GENERATOR ELECTRIC | X |  |
| E-42A | EMERGENCY GENERATOR, ELECTRIC | X |  |
| E-42B | EMERGENCY GENERATOR, ELECTRIC | X |  |
| E-42C | EMERGENCY GENERATOR, ELECTRIC | X |  |
| E-43 | LEAD ACID BATTERY (PER CELL) |  | X |
| E-43A | LEAD ACID BATTERY SEAL TYPE (GELL CELL) |  | X |
| E-44 | NICKEL CADMIUM BATTERY |  | X |
| E-44A | PRIMARY BATTERY(DRY CELL) |  | X |
| E-45 | EMERGENCY GENERATOR STEAM TURBINE DRIVER | X |  |
| E-45A | EMERGENCY GENERATOR STEAM TURBINE DRIVER | X |  |
| E-46 | BATTERY, UNINTERRUPTIBLE POWER SYSTEM |  | X |
| E-46A | BATTERY, UNINTERRUPTIBLE POWER SYSTEM |  | X |
| E-46B | BATTERY, UNINTERRUPTIBLE POWER SYSTEM |  | X |
| E-49 | EMERGENCY PUMPS AND VENTILATORS | X |  |
| E-50 | EMERGENCY PUMPS AND VENTILATORS | X |  |
| E-51 | MOTOR STARTERS, LESS THAN 100HP | X |  |
|  | AND LESS THAN 600 VOLTS(FORMERLY E-35A) |  |  |
| E-52 | AUXILLARY PROTECTIVE RELAY | X |  |
| E-56 | DIMMER AND CONTROL, STAGE AND GENERAL LIGHTING |  | X |
| E-57 | LOW VOLTAGE DRY TYPE TRANSFORMER |  | X |
|  | (30 KVA & UP, 600 VOLTS OR LESS) |  |  |
| E-58 | POWER DISTRIBUTION SYSTEM | X |  |
| E-59 | UNINTERRUPITLE POWER SYSTEM | X |  |
| F-01 | ALARM CHECK VALVES & ACCESSORIES | X |  |
| F-01A | ALARM CHECK VALVES & ACCESSORIES | X |  |
| F-02 | DRY-PIPE,DELUGE,& PREACTION VALVES | X |  |
| F-02A | DRY-PIPE,DELUGE,& PREACTION VALVES | X |  |
| F-02B | DRY-PIPE,DELUGE,& PREACTION VALVES | X |  |
| F-03 | FIRE POST INDICATOR VALVE | X |  |
| F-04 | FIRE CONTROL VALVE 4"+ INTER WATER DISTRIB SYS | X |  |
| F-04A | FIRE CONTROL VALVE 4"+ INTER WATER DISTRIB SYS | X |  |
| F-04B | FIRE CONTROL VALVE 4"+ INTER WATER DISTRIB SYS | X |  |
| F-05 | FIRE PUMP DIESEL ENGINE DRIVEN | X |  |
| F-05A | FIRE PUMP DIESEL ENGINE DRIVEN | X |  |
| F-05B | FIRE PUMP DIESEL ENGINE DRIVEN | X |  |
| F-05C | FIRE PUMP DIESEL ENGINE DRIVEN OLD P-7 | X |  |
| F-06 | FIRE PUMP ELECTRIC MOTOR DRIVEN | X |  |
| F-06A | FIRE PUMP ELECTRIC MOTOR DRIVEN | X |  |
| F-06B | FIRE PUMP ELECTRIC MOTOR DRIVEN | X |  |
| F-08 | FIRE HOSE(1 1/2 INCH RACKED IN BLDG.) |  | X |
| F-08A | FIRE HOSE(1 1/2 INCH RACKED IN BLDG.) |  | X |
| F-09 | FIRE DEPARTMENT HOSE CONNECTIONS STANDPIPE |  | X |
| F-09A | FIRE DEPARTMENT HOSE CONNECTIONS STANDPIPE |  | X |
| F-10 | FIRE DEPART PUMP CONNECTION STANDPIPE/SPRINKLER |  | X |
| F-11 | FIRE DOORS-STAIRWAYS & EXITWAYS(SWINGING) | X |  |
| F-12 | FIRE DOORS-SLIDING AND VERTICAL ROLLING | X |  |
| F-13 | FIRE SUPERVISORY SIGNALS-TESTING | X |  |
| F-14 | AUTOMATIC FIRE DETECTIONS-SMOKE DETECTORS | X |  |
| F-14A | AUTOMATIC FIRE DETECTIONS-WATER FLOW ALARMS | X |  |
| F-14B | AUTOMATIC FIRE DETECTIONS-HEAT DETECTORS | X |  |
| F-14C | AUTO FIRE DETECTIONS-OPERATION TESTING PER ZONE | X |  |
| F-15 | FIRE ALARM CONTROL PANEL REMOTE ANNUNCIATORS | X |  |
| F-15A | FIRE ALARM CONTROL PANEL SPECIAL SYSTEMS | X |  |
| F-15B | CENTRAL STATION-TRANSMITTERS | X |  |
| F-15C | CENT STATION RECIEVER & RETRANSMISSION EQUIP. | X |  |
| F-16 | FIRE ALARM SYSTEM RECORDER | X |  |
| F-16A | FIRE ALARM SYSTEM EVENT PRINTER | X |  |
| F-16B | FIRE ALARM SYSTEM AUDIO CONTROL PANEL | X |  |
| F-16C | FIRE ALARM SYSTEM REMOTE AMPLIFIER | X |  |
| F-16D | FIRE ALARM SYSTEM RECORDER | X |  |
| F-17 | MANUAL FIRE ALARM STATION CODED / UNCODED | X |  |
| F-18 | FIRE & SMOKE DAMPERS | X |  |
| F-19 | FIRE HYDRANT(DRY OR WET BARREL) | X |  |
| F-19A | FIRE HYDRANT FLOW TEST(DRY OR WET BARREL) | X |  |
| F-20 | SPRINKLER HEADS EACH |  | X |
| F-20 | SPRINKLER HEADS PER 1,000 SQ. FT. |  | X |
| F-21 | WATER SPRAY, EXTINGUISHING SYSTEM |  | X |
| F-21A | WATER SPRAY, EXTINGUISHING SYSTEM |  | X |
| F-22 | FIRE EXTINGUISHER - STORED PRESSURE W/GUAGE |  | X |
| F-22A | FIRE EXTINGUISHER - NON STAINLESS STEEL - GAUGE |  | X |
| F-22B | FIRE EXTINGUISHER - NON RECHARGEABLE |  | X |
| F-23 | FIRE EXTINGUISHER - GAS CART/CYLINDER - NO GAUGE |  | X |
| F-24 | FIRE EXTINGUISHER-INSPECTION |  | X |
| F-25 | FIRE EXTINGUISHER-HYDRO-TESTING |  | X |
|  | CARBON DIOXIDE (CO 2) |  |  |
|  | STORED PRESSURE, CARTRIDGE TYPE |  |  |
| F-26 | FIRE EXTINGUISHER SYSTEM, CO2, HIGH PRESSURE |  | X |
|  | HALON, DRY CHEMICAL INSPECTION |  |  |
| F-26A | FIRE EXTINGUISHER SYSTEM, CO2, HIGH PRESSURE |  | X |
|  | HALON, DRY CHEMICAL |  |  |
| F-27 | FAN, CENTRIFUGAL |  |  |
|  | UP TO 5,000 CFM |  | X |
|  | 5,001-10,000 CFM | X |  |
|  | 10,001-15,000 CFM | X |  |
|  | 15,001-20,000 CFM | X |  |
|  | .30 FOR EACH ADDITIONAL 5,000 CFM OVER 20,000 CFM |  |  |
| F-28 | FILTER, MOVABLE CURTAIN, OIL COATED |  | X |
| F-29 | FILTER, ROLL TYPE, DISPOSABLE MEDIA |  | X |
| F-30 | FILTER, VISCOUS TYPE |  | X |
| F-31 | FILTER,ROLL TYPE, DISPOSABLE, MANUAL OR ELECTRIC |  | X |
| F-32 | FILTER,THROW AWAY |  | X |
| F-33 | FILTER,ELECTROSTATIC |  | X |
| F-36 | FAN,PROPELLER,24 DIA OR LARGER | X |  |
| F-38 | LIGHTNING PROTECTION (PER DOWN CONDUCTOR) |  | X |
| F-39 | CAFETERIA EXHAUST HOOD SYS PER 10 FT DUCT WORK |  | X |
| F-40 | FILTER, BAG TYPE DEPTH |  | X |
|  | 4 TO 6 INCHES |  |  |
|  | 6 TO 12 INCHES |  |  |
|  | 12 TO 24 INCHES |  |  |
|  | 24 TO 48 INCHES |  |  |
| F-43 | FILTER, CHARCOAL |  | X |
| F-44 | FOUNTAIN, MEMORAL OR DECORATIVE |  | X |
| F-49 | FILTER, CONTROL AIR |  | X |
| G-01 | FUEL OIL FILTER/STRAINER |  | X |
| G-02 | GREASE TRAP | X |  |
| G-03 | GATE/FENCES SECURITY AND ACCESS | X |  |
| H-01 | HOT WATER CONVERTER(STEAM) | X |  |
| H-02 | HOT WATER HEATER-GAS | X |  |
| H-03 | HOT WATER HEATER-ELECTRIC |  | X |
| H-04 | HOT WATER EXCHANGER | X |  |
| H-05 | HOT WATER HEATER-STEAM | X |  |
|  | UP TO 1,000 GALLONS |  |  |
|  | .50 M/H FOR EACH ADDITIONAL 1,000 GALLONS |  |  |
| H-06 | HOT AIR FURNACE | X |  |
|  | 120 MBTU'S OR LESS |  |  |
|  | 121 TO 300 MBTU'S |  |  |
|  | 301 TO 500 MBTU'S |  |  |
|  | 501 TO 700 MBTU'S |  |  |
|  | 701 TO 1,000 MBTU'S |  |  |
|  | OVER 1,000 MBTU'S |  |  |
| H-12 | HEATER, FUEL OIL UNIT |  | X |
| H-15 | HOIST, ELECTRIC |  | X |
| I-02 | FAN COIL UNIT,UNDER WINDOW TYPE |  | X |
| I-03 | INDUCTION UNIT, UNDER WINDOW TYPE |  | X |
| I-04 | FAN COIL UNIT,CEILING HUNG |  | X |
| I-05 | FAN COIL UNIT CEILING HUNG/VAV BOX ELEC HEAT |  | X |
| K-001 | PLAY STRUCTURE-SURFACING,ACCESS,SIZE,STORAGE | X |  |
| K-002 | PLAY STRUCTURE-SLIDING EQUIPMENT | X |  |
| K-003 | PLAY STRUCTURE-SWING | X |  |
| K-004 | PLAY STRUCTURE-CLIMBIMG EQUIPMENT | X |  |
| K-005 | PLAY STRUCTURE-ROTATING,SPRING ROCKING,SEESAWS | X |  |
| K-006 | PLAY STRUCTURE-SAND & WATER PLAY EQUIPMENT | X |  |
| K-007 | PLAY STRUCTURE-SIGNS,TREES,PATHWAYS | X |  |
| K-008 | PLAY STRUCTURE-PLAYHOUSE GARDEEN | X |  |
| K-009 | PLAY STRUCTURE-CARRIAGES AND BUGGIES | X |  |
| K-100 | KITCHEN EQUIPMENT-DISH/TRAY, BUSING CONVEYOR | X |  |
| K-100A | KITCHEN EQUIPMENT-DISH/TRAY, BUSING CONVEYOR | X |  |
| K-101 | KITCHEN EQUIPMENT-DISHWASHING MACHINE,ELECTRIC | X |  |
| K-101A | KITCHEN EQUIPMENT-DISHWASHING MACHINE,ELECTRIC | X |  |
| K-101B | KITCHEN EQUIPMENT-DISHWASHING MACHINE,STEAM FIRED | X |  |
| K-102 | KITCHEN EQUIPMENT-FRYER | X |  |
| K-102A | KITCHEN EQUIPMENT-FRYER | X |  |
| K-103 | KITCHEN EQUIPMENT-GRILL | X |  |
| K-103A | KITCHEN EQUIPMENT-GRILL | X |  |
| K-104 | KITCHEN EQUIPMENT-ICE CREAM & SHAKE MAKER | X |  |
| K-104A | KITCHEN EQUIPMENT-ICE CREAM & SHAKE MAKER | X |  |
| K-105 | KITCHEN EQUIPMENT-ICE MAKER | X |  |
| K-105A | KITCHEN EQUIPMENT-ICE MAKER | X |  |
| K-106 | KITCHEN EQUIPMENT-KETTLE | X |  |
| K-106A | KITCHEN EQUIPMENT-KETTLE | X |  |
| K-107 | KITCHEN EQUIPMENT-OVEN | X |  |
| K-107A | KITCHEN EQUIPMENT-OVEN | X |  |
| K-108 | KITCHEN EQUIPMENT-RANGE | X |  |
| K-108A | KITCHEN EQUIPMENT-RANGE | X |  |
| K-109 | KITCHEN EQUIPMENT-REFRIGERATOR/FREEZERS(WALK-IN | X |  |
| K-109A | KITCHEN EQUIPMENT-REFRIGERATOR/FREEZERS(WALK-IN | X |  |
| K-110 | KITCHEN EQUIPMENT-BOILER/GENERATORS,STEAM | X |  |
| K-110A | KITCHEN EQUIPMENT-BOILER/GENERATORS,STEAM | X |  |
| L-02 | LOADING RAMP, ADJUSTABLE |  | X |
| L-05 | LAWN SPRINKLER, PER NOZZLE |  | X |
| M-01 | MANHOLE, ELECTRIC |  | X |
| M-02 | MANHOLE, SEWER |  | X |
| M-03 | MOTORS PM 1 - 7.5 HP |  | X |
|  | MOTORS 7.5 - 50 HP | X |  |
|  | MOTORS OVER 50HP | X |  |
| M-03A | MOTORS PREDICTIVE MAINTENANCE OVER 10 HP | X |  |
|  | MOTORS 10 - 50 HP | X |  |
|  | MOTORS OVER 50 HP | X |  |
| M-04 | MANHOLE, WATER/STEAM/FUEL OIL |  | X |
|  | HOT, CHILLED AND CONDENSER WATER |  |  |
| M-10 | MOTOR CONTROLLER UNIT (600 VOLTS AND ABOVE) | X |  |
| M-11 | MOTOR, 600 VOLTS OR 200 HP AND ABOVE | X |  |
| P-01 | PAPER BALER | X |  |
| P-04 | PUMP,CENTRIFUGAL 1- 24 HP | X |  |
|  | 25 -100HP | X |  |
|  | OVER 100HP | X |  |
| P-06 | PUMP, VACUUM | X |  |
| R-01 | RADIATOR, HEATING |  | X |
| R-02 | ROOF INSPECTION(PER 100 SQ FT) BUILT UP TYPE |  | X |
| R-02A | ROOF INSPECTION(PER 100 SQ FT) SHINGLE TYPE |  | X |
| R-03 | REFRIG. MACHINE(ABSORPTION)UP TO 500 TONS | X |  |
|  | OVER 500 THRU 1000 TONS |  |  |
|  | OVER 1000 TONS |  |  |
| R-04 | CENTRAL PKG.CHILLED WATER UNIT | X |  |
|  | COMFORT COOLING/DRINKING WATER UNIT |  |  |
|  | 25 TONS AND UNDER |  |  |
|  | 25 TO 50 TONS |  |  |
|  | 50 TO 75 TONS |  |  |
|  | 75 TO 100 TONS |  |  |
|  | 100 TO 150 TONS |  |  |
|  | SPECIAL PURPOSE(COMPUTER COOLING) |  |  |
|  | 25 TONS AND UNDER |  |  |
|  | 25 TO 50 TONS |  |  |
|  | 50 TO 75 TONS |  |  |
|  | 75 TO 100 TONS |  |  |
|  | 100 TO 150 TONS |  |  |
| R-05 | REFRIGERATION MACHINE, CENTRIFUGAL | X |  |
|  | UP TO 50 TONS |  |  |
|  | 51 THRU 250 TONS |  |  |
|  | 251 THRU 500 TONS |  |  |
|  | 501 THRU 750 TONS |  |  |
|  | 751 THRU 1000 TONS |  |  |
| R-06 | REFRIGERATION MACHINE, RECIPROCATING AND SCROLL | X |  |
|  | 5O TONS AND UNDER |  |  |
|  | 50 TO 100 TONS |  |  |
|  | 100 TO 150 TONS |  |  |
| R-07 | REFRIGERATION MACHINE, SCREW | X |  |
|  | 50 TONS AND UNDER |  |  |
|  | 51 THRU 250 TONS |  |  |
|  | 251 THRU 500 TONS |  |  |
| R-08 | CONTROL PANEL, CENTRAL REFRIGERATION UNIT | X |  |
| R-09 | RADITION, BASEBOARDS/CONVECTORS |  | X |
|  | (STEAM,HOT WATER OR ELECTRIC)PER LINEAR FOOT |  |  |
| R-10 | RAILROAD TRACKAGE(PER 1000 FT) |  |  |
| R-11 | REFRIGERATION CONTROLS , CENTRAL SYSTEM | X |  |
| R-13 | NON-DESTRUCTIVE CHILLER TUBE ANALYSIS | X |  |
| R-14 | HIGH EFFICIENCY PURGE UNITS | X |  |
| R-15 | REFRIGERANT MONITOR | X |  |
| S-02 | SEWAGE EJECTOR, PNEUMATIC TANK TYPE EJECTORS | X |  |
| S-06 | SEWAGE EJECTOR, SUMP TYPE | X |  |
| S-07 | SUMP PUMP | X |  |
| S-08 | STRAINERS, Y TYPE |  | X |
| S-09 | STRAINERS, BOLTED FLANGE (WATER/STEAM) |  | X |
|  | 6 TO 14 BOLTS |  |  |
|  | 15 TO 34 BOLTS |  |  |
|  | 35 TO 58 BOLTS |  |  |
|  | OVER 58 BOLTS |  |  |
| S-14 | DUAL STRAINER | X |  |
| S-15 | BACKWASH STRAINER |  | X |
| T-01 | TANK, WATER (ALL TYPES) |  | X |
| T-02 | TANK--AIR/REFRIGERANT/L.P.GAS | X |  |
| T-03 | TANK, FUEL OIL STORAGE | X |  |
| T-04 | UNDERGROUNG STORAGE TANK, UST | X |  |
| T-05 | TRASH COMPACTOR |  | X |
| T-06 | TANK, CHEMICAL | X |  |
| T-08 | TRAPS, ALL TYPES |  | X |
|  | LOW PRESSURE |  |  |
|  | HIGH PRESSURE |  |  |
| T-09 | TURBINE, STEAM | X |  |
| U-01 | UNIT HEATER (STEAM AND HOT WATER) |  | X |
| U-02 | UNIT HEATER (GAS AND OIL FIRED) |  | X |
| V-01 | VACUUM CLEARNER,HEAVY DUTY,TANK,(ELECTRIC) |  | X |
| V-02 | VALVE, SAFTEY |  | X |
| V-03 | VALVE, REGULATING |  | X |
| V-04 | VALVE, FIRE SYSTEM PRESSURE REGULATING TYPE | X |  |
| V-04A | VALVE, FIRE SYSTEM PRESSURE REGULATING TYPE | X |  |
| V-04B | VALVE, FIRE SYSTEM PRESSURE REGULATING TYPE | X |  |
| V-05 | VALVE, MANUALLY OPERATED |  | X |
|  | MAIN LINE |  |  |
|  | OTHER OVER 2 INCHES |  |  |
| V-06 | VALVE, MOTOR OPERATED |  | X |
| V-07 | VALVES.HYDR/PNEU/ELEC |  | X |
| V-08 | VALVE, CRITICAL CHECK | X |  |
| V-09 | BACKFLOW PREVENTOR | X |  |
|  | UP TO 1 1/2 INCHES |  |  |
|  | 1 1/2 TO 2 INCHES |  |  |
|  | 2 TO 3 INCHES |  |  |
|  | 3 TO 4 INCHES |  |  |
|  | 4 TO 6 INCHES |  |  |
|  | 6 TO 8 INCHES |  |  |
|  | OVER 8 INCHES |  |  |
| V-10 | VACUUM SYSTEM, CENTRALIZED |  | X |
| W-01 | DRINKING WATER FILTER SYSTEM | X |  |
| W-02 | EYE WASH, EMERGENCY |  | X |
| W-03 | WATER SOFTENER | X |  |
| W-04 | FILTER, WATER | X |  |
| W-04A | FILTER, WATER, REPLACEABLE CARTRIDGE | X |  |
| W-08 | WATER TREATMENT FOR COOLING TOWER | X |  |
| W-09 | WATER TREATMENT FOR HEATING SYSTEMS | X |  |
| X-22 | FLAG POLE, ELECTRIC | X |  |
| X-23 | HEATER UNIT ELECTRIC |  | X |
| X-29 | CHEMICAL FEEDER | X |  |
| X-32 | PARKING ARM GATES |  | X |